[image: image1.wmf]     

 ERIKA SHOWER ENCLOSURE
                    Installation Manual                                                                                                                   Ⅰ、Usage tool：                                                 
[image: image7][image: image8]driller         pencil          wrench 

[image: image16.wmf]    tapeline      hammer
[image: image3.wmf] 

level rule 
[image: image4.wmf]       screwdriver  
[image: image5.wmf]      small wood block 
[image: image6.wmf]  

Ⅱ、Spare parts list：
1.Dilated tube 6,           
2.By the wall pintle 2,          
3.Waterproof a frame 2,  

4.M5*30 Screw 6,          
5.Border defense water 1,       
6.The glass clips 1,

7.Seal completely 2,        
8.Magnetism plastic 2,          
9.Movable glass 1,       

10.Fixed glass 1,          
11.Pull the pole 1,              
12.Waterproof in base 1,

13.Handle.
Ⅲ、Please check the quantity and quality of square parts before install, if you have any inquiry about it please contact our company or dealer without any hesitate, you will get satisfied reply soon!        

[image: image9]   
  

  picture 1
[image: image10]Ⅴ、Installation Process：

 1.  After measure the trim size, draw a vertical line, use an impact drill with diameter of ф6mm to make a stiletto, put into the expand tube. Screw tight with the M5*3 stud screw.

[image: image11]
                                          picture 2
2. Put the fix glass into the frame, use single side seal rubber filled in and then put the wall connector to the wall by the M5*30 screw to tighten the other side, put the glass nip into the glass gap, then use the six corner spanner to tighten.

3. Measure the size, fix the hinge to the wall then tighten then screw the moved glass to the hinge.                               

4. Then put the against water magnetism rubber to the glass. (As pic. 1)          

5. After installation finished, use Silicon to seal around. 

6. Please clear the frame by neutral purifier after 8 hours.
[image: image12.wmf]Ⅵ、Please push the door slightly,don’t scratch the frame by strong and sharp material to avoid 
damaging fittings.
picture 3                   

� EMBED AutoCAD.Drawing.16 \* MERGEFORMAT ���





� EMBED AutoCAD.Drawing.16 \* MERGEFORMAT ���





� EMBED AutoCAD.Drawing.16 \* MERGEFORMAT ���





� EMBED AutoCAD.Drawing.16 \* MERGEFORMAT ���





� EMBED AutoCAD.Drawing.16 \* MERGEFORMAT ���








[image: image13.wmf][image: image14.wmf]11

12

13

[image: image15.wmf]_1234567895.dwg

_1234567897.dwg

_1234567899.dwg

_1234567900.dwg

_1234567898.dwg

_1234567896.dwg

_1234567893.dwg

_1234567894.dwg

_1234567891.dwg

_1234567892.dwg

_1234567890.dwg

