[image: image1.wmf]GETA  SHOWER ENCLOSURE
Installation Manual
                                                                                                        I、Usage tool：                                                    

[image: image7.wmf][image: image8.wmf]driller        pencil         wrench 

[image: image20.wmf]   tape measure     hammer
[image: image3.wmf] 

spirit level 
[image: image4.wmf]       screwdriver  
[image: image5.wmf]      small wood block 
[image: image6.wmf]
II、Spare parts list：
1. M5×35 Stud-Screw 4pcs，  2. Wall profile 1pcs，  3. Vertical profile 1 pcs，     

4. Moving bar 1pcs，           5. Rotation round bar 1pcs，       6. Wall plug 4pcs，           

7. Moving glass 1pcs，       8. Bottom waterproof 1pcs,        9.M4×25 Stud-Screw 4pcs,
10  Fixed glass 1 pcs             11. bracket 1set
III、Please check the quantity and quality of square parts before install, if you have any inquiry about it please contact our company or dealer without any hesitate, you will get satisfied reply soon!     

[image: image9.wmf]
Pic. 1
[image: image10.wmf][image: image11.wmf]IV、Installation Process：
1. Please put the wall profile to the wall (Accord 
to the wall size to install), use the spirit level to
adjust the uprightness. After confirmation,
then use ф6—8mm driller to drill the hole,                             
then put the wall plug into the wall, use
M5×30 stud –screw and lock up the wall profile.                   

Pic.2
[image: image12.wmf]
2. Fix the transparent fix clip to the floor according
 to the axis of rotation, put the fixed glass into
 the vertical profile use ST4*12 screw to lock up the
 inside (be sure to put the gasket on the bottom)。
Then put on the cover..  

[image: image13.wmf]Pic. 3 
3. Fix the moving glass on the bearing, 
  then put another bearing on the top of the
  moving bar, lock up the bearing with

  2pcs M4x35 Stud-Screw, then put on the 

cover( like pic.4 ) 

4. Fix the pull pole
Pic. 4
[image: image14.wmf]5. Put the waterproof to the bottom of the glass, protrude inside.                                                   

After the installation, all side of glass door should be silicone.(like pic.5) 

                          Pic. 5
6. Please clear the frame by neutral purification after 24 hours                        
V、Please push the door slightly,don’t scratch the frame by strong and sharp material to avoid 
damaging fittings.
� EMBED AutoCAD.Drawing.16 \* MERGEFORMAT ���





� EMBED AutoCAD.Drawing.16 \* MERGEFORMAT ���





� EMBED AutoCAD.Drawing.16 \* MERGEFORMAT ���





� EMBED AutoCAD.Drawing.16 \* MERGEFORMAT ���





� EMBED AutoCAD.Drawing.16 \* MERGEFORMAT ���





� EMBED AutoCAD.Drawing.16  ���





� EMBED AutoCAD.Drawing.16  ���








[image: image15.wmf][image: image16.wmf][image: image17.wmf][image: image18.wmf][image: image19.wmf]_1234567899.dwg

_1321442493.dwg

_1325318083.dwg

_1271741048.dwg

_1271741161.dwg

_1271741012.dwg

_1189928849.dwg

_1190630014.dwg

_1190630034.dwg

_1189942625.dwg

_1189928162.dwg

_1189928206.dwg

_1189927924.dwg

